**A Service Provider shall not commence any works until they have undertaken the site-specific induction and been authorised by a Mirvac representative to commence.**

|  |  |
| --- | --- |
| Workplace:       | Location:       |
| Service Provider (SP) company name: |       |
| Name of (SP) Supervisor/ Manager: |       | Mobile phone:       |
| Permit valid from: |   | Permit expires: |   |
| SWMS / JSEA ref: |  |
| Commencement time: |  | Completion time: |  |
| Location of works:(Detail façade area) |  | Emergency contact(Name & No.) |  |
| Description of work:  |
| Item | Yes - Safe to Start No | Unsafe - Stop Work & Report | Yes  | No | N/A |
| 1. | All operators have had a site induction and for the BMU and hold a relevant Safe Work at Heights qualification as a minimum. |[ ] [ ] [ ]
| 2. | The supervisor assessed the weather conditions via hand-held anemometer at less than 25 Km/hr. and recorded wind speed and the conditions recorded to Pre – Start meeting. (BMU must not be used where winds are greater than 25 Km/hr) |[ ] [ ] [ ]
| 3. | An exclusion zone been set up below working area meeting council regulations (Guidance as prescribed in Council barricade permit) or as a minimum 3 x length of cradle and 3m from façade. |[ ] [ ] [ ]
| 4. | Helmets, Full body harness & lanyard provided have evidence of an inspection tag or 6 monthly logs of inspection recorded for all fall protection equipment as per AS1891.4. |[ ] [ ] [ ]
| 5. | Has a Buddy check been completed – ensure Helmets worn, fixing points in good condition and harnesses worn correctly. |[ ] [ ] [ ]
| 6. | Ensure all loose items within the cradle have been secured via a rated lanyard to a fixed point. These include as examples for window cleaning contractors:* Mop
* Squeegee
* Buckets
* Extension Poles
* 2-way radios / mobile phones

If other tools or equipment is required ensure these are stated within pre-start meeting. |[ ] [ ] [ ]
| 7. | Ensure within pre-start meeting communications strategy (BMU Phone to check if operational, the use mobile phones or 2-way radios is permitted these must recorded and advised to site management. |[ ] [x] [ ]
| 8. | Check emergency stop buttons are functioning and fully operational.  |[ ] [ ] [ ]
| 9. | Visually check cradle and gantry for damage – loose or missing parts (i.e. guide wheels). |[ ] [ ] [ ]
| 10. | Visually check hoist ropes and terminations to cradle frame and gantry cross beam. |[ ] [ ] [ ]
| 11. | Visually check gantry power supply cable for damage. |[ ] [ ] [ ]
| 12. | Check controls buttons functions on cradle for all functions: * Hoist up –down
* Cradle luff out-in
* Counterweight luff out –in
* Emergency Stop
* Check pendant cradle button operations (where required)
* Emergency Stop
* Forward – reverse
* Job slew anti clockwise – clockwise
* Cradle cross beam slew - anti clockwise – clockwise
 |[ ] [ ] [ ]
| 13. | Check bottom obstruction bar (trip bar) under cradle. |[ ] [ ] [ ]
| 14. | Check wall restraint assembly (main power supply attachment is tight and tied off correctly, including trailing cables). |[ ] [ ] [ ]
| 15 | The site supervisor conducted a Pre-Start meeting which reviews the JSEA/SWMS, permits, rescue plan and first aid equipment and communications strategy. |[ ] [ ] [ ]
| SAFE TO START - CONTRACTOR ACKNOWLEDGMENT (Safe to Start all procedures and requirements have been completed) |
| Name:      (Site Supervisor) | Signature:       | Time:       |
| BUILDING MANAGEMENT USE ONLY – REVIEW (APPROVAL TO PROCEED) |
| Name:      (Building Management only) | Signature:       | Time:       |

Building Management must check the wind speed and at 2 hourly intervals from the Bureau of Meteorology website [www.bom.gov.au](http://www.bom.gov.au). If the wind speed is over 25 Km/hr. the operators must be contacted to cease work immediately, the BMU must be secured & housed on the roof and all keys returned to Security

|  |
| --- |
| SECURITY USE ONLY- MONITOR WIND SPEED- WEATHER CONDITIONS  |
| Time | Bureau Reading |
|      Hrs. |      Km/hr. |
|      Hrs. |      Km/hr. |
|      Hrs. |      Km/hr. |
|      Hrs. |      Km/hr. |
|      Hrs. |      Km/hr. |
| BUILDING MANAGEMENT USE ONLY COMMENTS & SITE WORKING & BEHAVIOURAL OBSERVATIONS  |
|      *Comment if works suspended (i.e. winds speeds greater than or conditions such as lightning and rain create safety hazard)* |
| Item | BMU OPERATORS – END OF DAY CHECKLISTFaults must be recorded and reported to building management | Completed  | Comments |
| 16. | Has the BMU been stored and housed correctly |   |       |
| 17. | Has all roof access permits/ keys been returned to security |   |       |
| 18. | At the completion of each work day all loose items shall be secured via tie down or moved to a secure area and not impeding any thoroughfare. |   |       |
| 19. | Remove from site any debris, rubbish or remaining materials. It is the priority to adhere to the House Rules of the site. |   |       |
| 20. | Remove equipment from passageways, and common areas. No equipment / tools or material is to remain on rooftop or fire stairs. |   |       |
| 21. | All equipment & products to be loaded from rooftop on to trolley and returned to vehicle (use manual handling techniques when lifting and loading) |   |       |
| 22. | All daily requirements for site procedures completed |   |       |
| CONTRACTOR ACKNOWLEDGMENT End of day requirement have been met and the work site is Safe and all faults or safety hazard observations have been reported to Building Management  |
| Name:      (Site Supervisor) | Signature:       | Time:       |
| CONTRACTOR COMMENTS ONLY – (e.g. Faults, hazards, safety observations)  |
|       |
| BUILDING MANAGEMENT TO COMPLETE ONLY  |
| Name:      (Site Supervisor) | Signature:       | Time:       |
| BUILDING MANAGEMENT TO COMPLETE ONLY COMPLETE AS REQUIRED – COMMENTS  |
|       |
|       |
|       |